## Sample
Polvo A
InputReportName
OFFLOADING REPORT
Tank Ship |  |  | InputTankShip
Offloading Nº |  |  | InputOffloadingNumber
Offloading Cargo Quantity (m³/bbls) |  |  | InputOffloadingCargo
Start |  |  | InputStart
Finish |  |  | InputFinish
Cargo Superintendent |  |  | InputCargoSuper
Laboratory Technician |  |  | InputLabTech
Inspector SAYBOLT |  |  | InputInspector
Results - Offloading
Sample | Date | Time | BS&W | Salts |  | Density | API at | H2S in Liquid
|  |  | Centrifugação | Content (mg/L) | Content (ptb) | at 20ºC | 60/60ºF | Phase (ppm)
|  |  | ASTM D4007 | ASTM D3230 |  | ASTM D5002 | ASTM D5002 | UOP 163-89
1 | 2023-09-19 | 21:00 | 1 |  |  |  |  | 10.88
2 | 2023-09-19 | 22:00 | 0.8 |  |  |  |  | 12.79
3 | 2023-09-19 | 23:00 | 0.8 |  |  |  |  | 13.97
4 | 2023-09-20 | 24:00 | 0.8 | 285 | 99.8925 | 0.9294 | 20.12 | 12.81
5 | 2023-09-20 | 25:00 | 0.8 |  |  |  |  | 13.77
6 | 2023-09-20 | 2:00 | 1 |  |  |  |  | 13.56
7 | 2023-09-20 | 3:00 | 1 |  |  |  |  | 12.87
Sample | Date | Time | BS&W | Salts |  | Density | Density | API at | H2S in Liquid
|  |  | Centrifugação | Content (mg/L) | Content (ptb) | at 20/4ºC | at 15ºC | 60/60ºF | (ppm)
MANUAL BLEND | 2023-09-20 | 3:30 | 0.9 | 325 | 113.9125 | 0.929 | 0.9323 | 20.19 | 13.12
AUTOSAMPLER | 2023-09-20 | 3:30 | 0.9 | 330 | 115.665 | 0.9301 | 0.9334 | 20.02 | 13.88
SHIP'S BLEND | 2023-09-20 | 5:15 | 1 | 378 | 132.489 | 0.93 | 0.9333 | 20.03 | 13.11
Test Performed by:
Signature
Técnico Químico e Processos
InputLabTech
CRQ - 3° Região
| Signature |  |  |  | Signature
| Inspetor Saybolt |  |  |  | PetroRio Company Representative
| Rafael Marinho |  |  |  | Domingos Caetano